# 2.3 – Working in heated ceiling spaces when installing insulation

Technical Guidance Series – VEU ceiling insulation activity

This is part of a series developed with WorkSafe to help installers in our program to work safely while installing insulation.

Use this sheet and others in this series to plan safe series of work while installing insulation.

| VEU Ceiling Insulation – Technical Guidance Series |  |
| --- | --- |
| Working safely at heights |  |
| 1.1 | Working safely at heights during rooftop insulation installations |
| 1.2 | Edge protection – working at height |
| 1.3 | Manual handling of heavy and bulky items |
| 1.4 | Working safely with ladders |
| 1.5 | Safe work practices using elevating work platforms |
| 1.6 | Falls through skylights, fragile roofs, voids and penetrations. |
| Working safely in ceiling spaces |  |
| 2.1 | Working in pairs (best practice) |
| 2.2 | Working near asbestos containing material |
| 2.3 | Working in heated ceiling spaces when installing insulation (this sheet) |
| 2.4 | Working in restricted ceiling spaces |
| 2.5 | Falls through ceiling spaces |
| 2.6 | Fire hazards in ceiling spaces |
| Working safely with electricity |  |
| 3.1 | Safe elements of electrical isolation |
| 3.2 | Safety isolating solar PV systems |

## Heat in ceiling spaces

Installing ceiling insulation in residential homes requires workers to perform large amounts of work inside ceiling spaces. One of the key hazards when working in ceiling spaces is the potential exposure to heat stress.

The ceilings in residential buildings are areas where there are artificial extremes of temperature, maybe caused by: solar heat gain through the roof structure, inadequate insulation, poor ventilation or restricted airflow in the roof voids, proximity to roofing material that absorb and radiate a heat or the accumulation of hot air rising from occupied spaces below.

These factors can contribute to heat illnesses occurring quickly, either in the form of heat exhaustion or heat stroke.

Follow this 4-step risk management process to ensure hazards are identified, risks are assessed and controlled, and that employers fulfil their duty to monitor, review and revise controls when required.

Figure 1: The 4-step risk management process

## Step 1: Identify hazards – symptoms of heat illnesses

Workers installing ceiling insulation are exposed to heat-related risks, because they’re required to work inside ceiling spaces. Two of the most serious conditions that can occur if exposed to high levels of heat are heat exhaustion and heat stroke.

#### Identifying hazards

One of the key hazards of working in ceiling spaces is the potential for extreme heat conditions. Unlike the habitable rooms below, ceiling spaces are often small, cramped and completely uninsulated against the elements. This can cause extremely hot conditions – even on days when weather conditions can be quite mild.

On days where there is strong radiant heat (from direct sunshine) or high ambient temperatures, installers should be aware of the increased risk of heat stress or heat exhaustion.

#### Heat exhaustion

Heat exhaustion is a serious condition that occurs when core body temperature rises to 38-39 °C. This results in poor blood flow to the brain and heart. Symptoms include:

pale skin

dizziness

sweating

muscle cramps

rapid heart rate

nausea and vomiting

fainting

headache.

If symptoms of heat exhaustion occur, you should: go to a cool area and lie down fan yourself, if possible (or find a fan to sit in front of) drink cool water if not vomiting remove outer clothing wet skin with cool water or damp cloths. If no help is available, the person is not improving or if you think they could have heatstroke, call Triple Zero (000) for an ambulance.

#### Heat stroke

Heat stroke is a critical condition where core body temperature rises to above 40 °C. At this temperature, organ damage occurs and body temperature must be reduced quickly to prevent damage.

Heat stroke presents similarly to heat exhaustion. However, the skin may be dry, and the person may appear confused or agitated. Other symptoms include:

loss of consciousness

very high body temperature

muscle twitching or seizures

profuse sweating or hot, dry skin

rapid pulse

rapid breathing.

Heat stroke is a medical emergency. Call Triple Zero (000) for an ambulance. While waiting for emergency medical assistance, try to help the person cool down as quickly as possible. This includes: moving them to a cool, shady area removing excess clothing wetting their skin with cool water or a damp sponge or cloth. giving the person cool water to drink if they are conscious and able to swallow performing CPR, if required.

## Step 2: Assess risks – plan your work around the weather

Plan your work around weather conditions and assess the risks based on the identified hazards.

Consider the likelihood, nature and severity of consequences when assessing risks to employees’ health and safety.

The following factors should be considered when assessing the temperature of the ceiling space and estimating the duration of the works.

The weather temperature at the start of the work and expected changes throughout the day, including peak heat periods.

The ability to improve ventilation and airflow in the roof through removal of extra roof panels or tiles to allow wind to circulate.

The time of day the works are scheduled and whether tasks can be undertaken during cooler periods.

The level and condition of the insulation and its impact on heat retention within the ceiling space.

The duration and physical intensity of the task to be performed, including frequency and adequacy of rest breaks.

See the WorkSafe website for more information on when and how to complete a SWMS for construction activities: worksafe.vic.gov.au/resources/safe-work-method-statements-swms

© The State of Victoria Department of Energy, Environment and Climate Action September 2026.

ISBN 978-1-76176-980-1(pdf/online/MS word)

Disclaimer

This publication may be of assistance to you but the State of Victoria and its employees do not guarantee that the publication is without flaw of any kind or is wholly appropriate for your particular purposes and therefore disclaims all liability for any error, loss or other consequence which may arise from you relying on any information in this publication.

Accessibility

To receive this publication in an alternative format, please contact the Victorian Energy Upgrades team at energy.upgrades@deeca.vic.gov.au. This document is also available on the internet at energy.vic.gov.au/victorian-energy-upgrades.

## Step 3: Control risks – how to reduce exposure to heat illness

Employers must provide and maintain, so far as is reasonably practicable, a safe working environment for employees. This includes managing risks associated with extreme heat.

Where risks cannot be eliminated, reducing risks can be achieved by working though the successive stages of the hierarchy of control.

There are several methods that can be used to prevent the occurrence of heat illness when installing ceiling insulation, as shown in the following table.

Table 1: Methods for preventing heat illnesses while installing rooftop insulation

| Method | Explanation |
| --- | --- |
| Rescheduling work | Where possible, schedule to complete work early in the morning to prevent being inside ceilings during the middle of the day. On extreme heat days, consider postponing work. |
| Additional ventilation | Remove tile or roof sheet to create airflow through the ceiling cavity when installing insulation. |
| Extra breaks | Drink cool water regularly when working in a ceiling cavity (even if not thirsty). Ensure that all workers take regular breaks in a cool area. |
| Extra monitoring | Always work in pairs. Refer to 2.1 Working in Pairs Regularly check if workers/colleagues are showing signs and symptoms of heat stress. Ensure workers/colleagues are aware of the signs and symptoms of heat stress. |

For extra information about working in hot conditions, please see WorkSafe Victoria’s guidance: worksafe.vic.gov.au/prevention-and-protection-heat-illness

## Step 4: Review and revise controls

Managing the risk of heat illness while installing ceiling insulation is an ongoing process. Employers need to monitor, review and where necessary, revise control measures and associated systems of work. This includes reviewing the SWMS whenever there are changes to the work environment, identification hazards, or control measures.

This can include monitoring:

weather conditions while work has commenced in case the heat becomes extreme

the temperature in the ceiling space

employees for signs and symptoms of heat illnesses

the effectiveness of control measures and whether the SWMS remains current and appropriate for the work being undertaken.

Your actions shouldn't stop at step 4. This process should be repeated regularly to endure risk controls remain effective and continue to protect workers.

_______